## Heat Pump Water Heater
PACIFIC NORTHWEST MIDSTREAM HVAC AND WATER HEAT PROGRAM
2024 Q2 Heat Pump Water Heater - Qualified Product List Seattle City Light and SnoPUD ONLY
Brand | Model | Tier | CCE | SCOP | Volume (gallons) | UEF | EcoPort | AHRI Certified Reference Number | Input (kW) | Commercial Retrofit Incentive | Residential Retrofit Incentive
Rheem | XE40T10HM*00U0 | 3 | 2.5 |  | 40 | 2.8 | Yes | 208105659 | 1 | 600 | 500
Rheem | XE40T10HM00U0 | 3 | 2.5 |  | 40 | 2.8 | Yes |  |  | 600 | 500
Rheem Prestige | PROPH40 T0 RH120-M | 3 | 2.5 |  | 40 | 2.8 | Yes |  |  | 600 | 500
Rheem Prestige | PROPH40 T0 RH120-M** | 3 | 2.5 |  | 40 | 2.8 | Yes | 208101996 | 1 | 600 | 500
Richmond | 10E40-HP120M | 3 | 2.5 |  | 40 | 2.8 | Yes |  |  | 600 | 500
Richmond | 10E40-HP120M* | 3 | 2.5 |  | 40 | 2.8 | Yes | 208105661 | 1 | 600 | 500
Ruud | PROUH40 T0 RU120-M | 3 | 2.5 |  | 40 | 2.8 | Yes |  |  | 600 | 500
Ruud | PROUH40 T0 RU120-M** | 3 | 2.5 |  | 40 | 2.8 | Yes | 208105660 | 1 | 600 | 500
A. O. Smith | HPTV-50 2** | 3 | 2.6 |  | 50 | 3 | Yes | 213826277 | 0.9 | 600 | 500
A. O. Smith | HPTV-80 2** | 3 | 2.6 |  | 80 | 3 | Yes | 212920690 | 0.9 | 600 | 500
A. O. Smith | HPV10-50H01DV 2** | 3 | 2.6 |  | 50 | 3 | Yes | 213826283 | 0.9 | 600 | 500
A. O. Smith | HPV10-80H01DV 2** | 3 | 2.6 |  | 80 | 3 | Yes | 212920698 | 0.9 | 600 | 500
American | HPV10250H009DV 2** | 3 | 2.6 |  | 50 | 3 | Yes | 213826285 | 0.9 | 600 | 500
American | HPV10280H009DV 2** | 3 | 2.6 |  | 80 | 3 | Yes | 212920696 | 0.9 | 600 | 500
Lochinvar | HPV050KD 2** | 3 | 2.6 |  | 50 | 3 | Yes | 213826286 | 0.9 | 600 | 500
Lochinvar | HPV080KD 2** | 3 | 2.6 |  | 80 | 3 | Yes | 212920697 | 0.9 | 600 | 500
Reliance | 10-50-DHPTV 2** | 3 | 2.6 |  | 50 | 3 | Yes | 213826287 | 0.9 | 600 | 500
Reliance | 10-80-DHPTV 2** | 3 | 2.6 |  | 80 | 3 | Yes | 212920699 | 0.9 | 600 | 500
Rheem | XE50T10HM*00U0 | 3 | 2.6 |  | 50 | 3 | Yes | 208105662 | 1 | 600 | 500
Rheem | XE50T10HM00U0 | 3 | 2.6 |  | 50 | 3 | Yes |  |  | 600 | 500
Rheem | XE65T10HM*00U0 | 3 | 2.6 |  | 65 | 3.3 | Yes | 208105665 | 1 | 600 | 500
Rheem | XE65T10HM00U0 | 3 | 2.6 |  | 65 | 3.3 | Yes |  |  | 600 | 500
Rheem Prestige | PROPH50 T0 RH120-M | 3 | 2.6 |  | 50 | 3 | Yes |  |  | 600 | 500
Rheem Prestige | PROPH50 T0 RH120-M** | 3 | 2.6 |  | 50 | 3 | Yes | 208101997 | 1 | 600 | 500
Rheem Prestige | PROPH65 T0 RH120-M | 3 | 2.6 |  | 65 | 3.3 | Yes |  |  | 600 | 500
Rheem Prestige | PROPH65 T0 RH120-M** | 3 | 2.6 |  | 65 | 3.3 | Yes | 208101998 | 1 | 600 | 500
Richmond | 10E50-HP120M | 3 | 2.6 |  | 50 | 3 | Yes |  |  | 600 | 500
Richmond | 10E50-HP120M* | 3 | 2.6 |  | 50 | 3 | Yes | 208105664 | 1 | 600 | 500
Richmond | 10E65-HP120M | 3 | 2.6 |  | 65 | 3.3 | Yes |  |  | 600 | 500
Richmond | 10E65-HP120M* | 3 | 2.6 |  | 65 | 3.3 | Yes | 208105667 | 1 | 600 | 500
Ruud | PROUH50 T0 RU120-M | 3 | 2.6 |  | 50 | 3 | Yes |  |  | 600 | 500
Ruud | PROUH50 T0 RU120-M** | 3 | 2.6 |  | 50 | 3 | Yes | 208105663 | 1 | 600 | 500
Ruud | PROUH65 T0 RU120-M | 3 | 2.6 |  | 65 | 3.3 | Yes |  |  | 600 | 500
Ruud | PROUH65 T0 RU120-M** | 3 | 2.6 |  | 65 | 3.3 | Yes | 208105666 | 1 | 600 | 500
State | HPVX-50-DHPT 2** | 3 | 2.6 |  | 50 | 3 | Yes | 213826284 | 0.9 | 600 | 500
State | HPVX-80-DHPT 2** | 3 | 2.6 |  | 88 | 3 | Yes | 212920695 | 0.9 | 600 | 500
A. O. Smith | HPTV-66 2** | 3 | 2.7 |  | 66 | 3.2 | Yes | 212920689 | 0.9 | 600 | 500
A. O. Smith | HPV10-66H01DV 2** | 3 | 2.7 |  | 66 | 3.2 | Yes | 212920693 | 0.9 | 600 | 500
American | HPV10266H009DV 2** | 3 | 2.7 |  | 66 | 3.2 | Yes | 212920692 | 0.9 | 600 | 500
Lochinvar | HPV065KD 2** | 3 | 2.7 |  | 66 | 3.2 | Yes | 212920694 | 0.9 | 600 | 500
Reliance | 10-66-DHPTV 2** | 3 | 2.7 |  | 66 | 3.2 | Yes | 213255770 | 0.9 | 600 | 500
Rheem | XE40T10H15U0 | 3 | 2.7 |  | 40 | 3 | Yes | 208629405 | 1.3 | 600 | 500
Rheem | XE50T10H15U0 | 3 | 2.7 |  | 50 | 3 | Yes | 208676265 | 1.3 | 600 | 500
Rheem Prestige | PROPH40 T0 RH120 | 3 | 2.7 |  | 40 | 3 | Yes | 208598552 | 1.3 | 600 | 500
Rheem Prestige | PROPH50 T0 RH120 | 3 | 2.7 |  | 50 | 3 | Yes | 208676263 | 1.3 | 600 | 500
Richmond | 10E40-HP120 | 3 | 2.7 |  | 40 | 3 | Yes | 208629407 | 1.3 | 600 | 500
Richmond | 10E50-HP120 | 3 | 2.7 |  | 50 | 3 | Yes | 208676267 | 1.3 | 600 | 500
Ruud | PROUH40 T0 RU120 | 3 | 2.7 |  | 40 | 3 | Yes | 208629406 | 1.3 | 600 | 500
Ruud | PROUH50 T0 RU120 | 3 | 2.7 |  | 50 | 3 | Yes | 208676266 | 1.3 | 600 | 500
State | HPVX-66-DHPT 2** | 3 | 2.7 |  | 66 | 3.2 | Yes | 212920691 | 0.9 | 600 | 500
Bradford White | RE2H50S*-***** | 3 | 2.8 |  | 50 | 3.46 | No | 200094644 | 4.5 | 600 | 500
Bradford White | RE2H50S*-***** | 1 | 2.8 |  | 50 | 3.39 | No | 200094644 | 4.5 | 600 | 0
A. O. Smith | HP10-50H45DV | 3 | 2.9 |  | 50 | 3.45 | No |  |  | 600 | 500
A. O. Smith | HP1050H45DV 1** | 3 | 2.9 |  | 50 | 3.45 | No | 206428785 | 4.5 | 600 | 500
A. O. Smith | HP1050H45DVCTA-1** | 3 | 2.9 |  | 50 | 3.45 | Yes | 206851899 | 4.5 | 600 | 500
A. O. Smith | HP1050H45DVDR 130 | 3 | 2.9 |  | 50 | 3.45 | Yes |  |  | 600 | 500
A. O. Smith | HP10-80H45DV | 3 | 2.9 |  | 80 | 3.45 | No |  |  | 600 | 500
A. O. Smith | HP1080H45DV 1** | 3 | 2.9 |  | 80 | 3.45 | No | 206428808 | 4.5 | 600 | 500
A. O. Smith | HP1080H45DVCTA-1** | 3 | 2.9 |  | 80 | 3.45 | Yes | 206851902 | 4.5 | 600 | 500
A. O. Smith | HP1080H45DVDR 130 | 3 | 2.9 |  | 80 | 3.45 | Yes |  |  | 600 | 500
A. O. Smith | HPTU 50 120 | 3 | 2.9 |  | 50 | 3.42 | No |  |  | 600 | 500
A. O. Smith | HPTU 80 120 | 3 | 2.9 |  | 80 | 2.73 | No |  |  | 600 | 500
A. O. Smith | HPTU-50CTA 1** | 3 | 2.9 |  | 50 | 3.45 | Yes | 206428787 | 4.5 | 600 | 500
A. O. Smith | HPTU-50DR 1** | 3 | 2.9 |  | 50 | 3.45 | Yes | 206428786 | 4.5 | 600 | 500
A. O. Smith | HPTU-50N 1** | 3 | 2.9 |  | 50 | 3.45 | No | 206428769 | 4.5 | 600 | 500
A. O. Smith | HPTU-80CTA 1** | 3 | 2.9 |  | 80 | 3.45 | Yes | 206428810 | 4.5 | 600 | 500
A. O. Smith | HPTU-80DR 1** | 3 | 2.9 |  | 80 | 3.45 | Yes | 206428809 | 4.5 | 600 | 500
A. O. Smith | HPTU-80N 1** | 3 | 2.9 |  | 80 | 3.45 | No | 206428771 | 4.5 | 600 | 500
American | HPHE10250H045DV 120 | 3 | 2.9 |  | 50 | 3.42 | No |  |  | 600 | 500
American | HPHE10250H045DVCTA-1** | 3 | 2.9 |  | 50 | 3.45 | Yes | 206851900 | 4.5 | 600 | 500
American | HPHE10250H045DVDR 1** | 3 | 2.9 |  | 50 | 3.45 | Yes | 206428789 | 4.5 | 600 | 500
American | HPHE10250H045DVN *** | 3 | 2.9 |  | 50 | 3.45 | No | 206428788 | 4.5 | 600 | 500
American | HPHE10280H045DV 120 | 3 | 2.9 |  | 80 | 2.73 | No |  |  | 600 | 500
American | HPHE10280H045DVCTA-1** | 3 | 2.9 |  | 80 | 3.45 | Yes | 206851903 | 4.5 | 600 | 500
American | HPHE10280H045DVDR 1** | 3 | 2.9 |  | 80 | 3.45 | Yes | 206428812 | 4.5 | 600 | 500
American | HPHE10280H045DVN *** | 3 | 2.9 |  | 80 | 3.45 | No | 206428811 | 4.5 | 600 | 500
Direct Energy | ECE H40 T2 RH310BM | 3 | 2.9 |  | 40 | 3.5 | No | 206186502 | 4.5 | 600 | 500
Direct Energy | ECE H50 T2 RH310BM | 3 | 2.9 |  | 50 | 3.5 | No | 206186491 | 4.5 | 600 | 500
Direct Energy | ECE H65 T2 RH310BM | 3 | 2.9 |  | 65 | 3.5 | No | 206186480 | 4.5 | 600 | 500
Direct Energy | ECE H80 T2 RH310BM | 3 | 2.9 |  | 80 | 3.5 | No | 206186513 | 4.5 | 600 | 500
Kenmore | 153.5925 | 3 | 2.9 |  | 50 | 2.9 | No |  |  | 600 | 500
Kenmore | 153.5928 | 3 | 2.9 |  | 80 | 2.9 | No |  |  | 600 | 500
Lochinvar | HPA051KD 120 | 3 | 2.9 |  | 50 | 3.42 | No |  |  | 600 | 500
Lochinvar | HPA052KD *** | 3 | 2.9 |  | 50 | 3.45 | No | 206428790 | 4.5 | 600 | 500
Lochinvar | HPA081KD 120 | 3 | 2.9 |  | 80 | 2.73 | No |  |  | 600 | 500
Lochinvar | HPA082KD *** | 3 | 2.9 |  | 80 | 3.45 | No | 206428813 | 4.5 | 600 | 500
Reliance | 10 50 DHPHT 120 | 3 | 2.9 |  | 50 | 3.42 | No |  |  | 600 | 500
Reliance | 10 80 DHPHT 120 | 3 | 2.9 |  | 80 | 2.73 | No |  |  | 600 | 500
Reliance | 10-50-DHPHTCTA 1** | 3 | 2.9 |  | 50 | 3.45 | Yes | 206428792 | 4.5 | 600 | 500
Reliance | 10-50-DHPHTDR 130 | 3 | 2.9 |  | 50 | 3.45 | Yes |  |  | 600 | 500
Reliance | 10-50-DHPHTNE 1** | 3 | 2.9 |  | 50 | 3.45 | No | 206428791 | 4.5 | 600 | 500
Reliance | 10-80-DHPHTCTA 1** | 3 | 2.9 |  | 80 | 3.45 | Yes | 206428815 | 4.5 | 600 | 500
Reliance | 10-80-DHPHTDR 130 | 3 | 2.9 |  | 80 | 3.45 | Yes |  |  | 600 | 500
Reliance | 10-80-DHPHTNE 1** | 3 | 2.9 |  | 80 | 3.45 | No | 206428814 | 4.5 | 600 | 500
Rheem | PRO H40 T2 RH310BM | 3 | 2.9 |  | 40 | 3.5 | Yes | 205566392 | 4.5 | 600 | 500
Rheem | PRO H40 T2 RH310UM | 3 | 2.9 |  | 40 | 3.5 | Yes | 206077600 | 4.5 | 600 | 500
Rheem | PRO H50 T2 RH310BM | 3 | 2.9 |  | 50 | 3.5 | Yes | 205566393 | 4.5 | 600 | 500
Rheem | PRO H50 T2 RH310UM | 3 | 2.9 |  | 50 | 3.5 | Yes | 206077602 | 4.5 | 600 | 500
Rheem | PRO H65 T2 RH310BM | 3 | 2.9 |  | 65 | 3.5 | Yes | 205566389 | 4.5 | 600 | 500
Rheem | PRO H65 T2 RH310UM | 3 | 2.9 |  | 65 | 3.5 | Yes | 206077604 | 4.5 | 600 | 500
Rheem | PRO H80 T2 RH310BM | 3 | 2.9 |  | 80 | 3.5 | Yes | 205566394 | 4.5 | 600 | 500
Rheem | PRO H80 T2 RH310UM | 3 | 2.9 |  | 80 | 3.5 | Yes | 206077606 | 4.5 | 600 | 500
Rheem | XE80T10HM*00U0 | 3 | 2.9 |  | 80 | 3.5 | Yes | 208105668 | 1 | 600 | 500
Rheem | XE80T10HM00U0 | 3 | 2.9 |  | 80 | 3.5 | Yes |  |  | 600 | 500
Rheem Canada | CPRO H40 T2 RH310BM | 3 | 2.9 |  | 40 | 3.5 | No | 206186501 | 4.5 | 600 | 500
Rheem Canada | CPRO H50 T2 RH310BM | 3 | 2.9 |  | 50 | 3.5 | No | 206186490 | 4.5 | 600 | 500
Rheem Canada | CPRO H65 T2 RH310BM | 3 | 2.9 |  | 65 | 3.5 | No | 206186479 | 4.5 | 600 | 500
Rheem Canada | CPRO H80 T2 RH310BM | 3 | 2.9 |  | 80 | 3.5 | No | 206186512 | 4.5 | 600 | 500
Rheem Prestige | PROPH80 T0 RH120-M | 3 | 2.9 |  | 80 | 3.5 | Yes |  |  | 600 | 500
Rheem Prestige | PROPH80 T0 RH120-M** | 3 | 2.9 |  | 80 | 3.5 | Yes | 208101999 | 1 | 600 | 500
Richmond | 10E80-HP120M | 3 | 2.9 |  | 80 | 3.5 | Yes |  |  | 600 | 500
Richmond | 10E80-HP120M* | 3 | 2.9 |  | 80 | 3.5 | Yes | 208105670 | 1 | 600 | 500
Ruud | PRO H40 T2 RU310BM | 3 | 2.9 |  | 40 | 3.5 | Yes | 205574631 | 4.5 | 600 | 500
Ruud | PRO H40 T2 RU310UM | 3 | 2.9 |  | 40 | 3.5 | Yes | 206077601 | 4.5 | 600 | 500
Ruud | PRO H50 T2 RU310BM | 3 | 2.9 |  | 50 | 3.5 | Yes | 205574632 | 4.5 | 600 | 500
Ruud | PRO H50 T2 RU310UM | 3 | 2.9 |  | 50 | 3.5 | Yes | 206077603 | 4.5 | 600 | 500
Ruud | PRO H65 T2 RU310BM | 3 | 2.9 |  | 65 | 3.5 | Yes | 205574633 | 4.5 | 600 | 500
Ruud | PRO H65 T2 RU310UM | 3 | 2.9 |  | 65 | 3.5 | Yes | 206077605 | 4.5 | 600 | 500
Ruud | PRO H80 T2 RU310BM | 3 | 2.9 |  | 80 | 3.5 | Yes | 205574634 | 4.5 | 600 | 500
Ruud | PRO H80 T2 RU310UM | 3 | 2.9 |  | 80 | 3.5 | Yes | 206077607 | 4.5 | 600 | 500
Ruud | PROUH80 T0 RU120-M | 3 | 2.9 |  | 80 | 3.5 | Yes |  |  | 600 | 500
Ruud | PROUH80 T0 RU120-M** | 3 | 2.9 |  | 80 | 3.5 | Yes | 208105669 | 1 | 600 | 500
State | HPX 50 DHPT 120 | 3 | 2.9 |  | 50 | 3.42 | No |  |  | 600 | 500
State | HPX 80 DHPT 120 | 3 | 2.9 |  | 80 | 2.73 | No |  |  | 600 | 500
State | HPX-50-DHPTCTA 1** | 3 | 2.9 |  | 50 | 3.45 | Yes | 206428795 | 4.5 | 600 | 500
State | HPX-50-DHPTDR 130 | 3 | 2.9 |  | 50 | 3.45 | Yes |  |  | 600 | 500
State | HPX-50-DHPTNE 1** | 3 | 2.9 |  | 50 | 3.45 | No | 206428793 | 4.5 | 600 | 500
State | HPX-80-DHPTCTA 1** | 3 | 2.9 |  | 80 | 3.45 | Yes | 206428818 | 4.5 | 600 | 500
State | HPX-80-DHPTDR 1** | 3 | 2.9 |  | 80 | 3.45 | Yes | 206428817 | 4.5 | 600 | 500
State | HPX-80-DHPTNE 1** | 3 | 2.9 |  | 80 | 3.45 | No | 206428816 | 4.5 | 600 | 500
US Craftmaster | HPHE2K50HD045VUN *** | 3 | 2.9 |  | 50 | 3.45 | No | 206428796 | 4.5 | 600 | 500
US Craftmaster | HPHE2K80HD045VUN *** | 3 | 2.9 |  | 80 | 3.45 | No | 206428819 | 4.5 | 600 | 500
Whirlpool | HPHE2K50HD045V 120 | 3 | 2.9 |  | 50 | 2.9 | No |  |  | 600 | 500
Whirlpool | HPHE2K50HD045VN 120 | 3 | 2.9 |  | 50 | 2.9 | No |  |  | 600 | 500
Whirlpool | HPHE2K80HD045V 120 | 3 | 2.9 |  | 80 | 2.9 | No |  |  | 600 | 500
American Standard | ASHPWH-65 | 4 | 3 |  | 65 | 3.85 | Yes |  |  | 600 | 500
American Standard | ASHPWH-65***** | 4 | 3 |  | 65 | 3.85 | Yes | 213246055 | 4.5 | 600 | 500
Bradford White | RE2H50S10-1NCTT | 2 | 3 |  | 50 | 3.44 | No |  |  | 600 | 0
Bradford White | RE2H50S10-1NCTT-CON | 4 | 3 |  | 50 | 3.44 | Yes |  |  | 600 | 500
Bradford White | RE2H65T**-***** | 3 | 3 |  | 65 | 3.39 | No | 205129172 | 4.5 | 600 | 500
Bradford White | RE2H65T**-***** | 1 | 3 |  | 65 | 3.46 | No | 205129172 | 4.5 | 600 | 0
LG | R5TT20F-SA0 | 2 | 3 |  | 58 | 3.75 | No |  |  | 600 | 0
A. O. Smith | HPA10-40H45DV 2** | 4 | 3.1 |  | 40 | 3.6 | Yes | 214091851 | 4.5 | 600 | 500
A. O. Smith | HPTA-40 2** | 4 | 3.1 |  | 40 | 3.6 | Yes | 214091846 | 4.5 | 600 | 500
A. O. Smith | HPTU 66 120 | 3 | 3.1 |  | 66 | 3 | No |  |  | 600 | 500
A. O. Smith | HPTU-66CTA 1** | 3 | 3.1 |  | 66 | 3.45 | Yes | 206428798 | 4.5 | 600 | 500
A. O. Smith | HPTU-66DR 1** | 3 | 3.1 |  | 66 | 3.45 | Yes | 206428797 | 4.5 | 600 | 500
A. O. Smith | HPTU-66N 1** | 3 | 3.1 |  | 66 | 3.45 | No | 206428770 | 4.5 | 600 | 500
American | HPA10240H045DV 2** | 4 | 3.1 |  | 40 | 3.6 | Yes | 214091849 | 4.5 | 600 | 500
American | HPHE10266H045DV 120 | 3 | 3.1 |  | 66 | 3.52 | No |  |  | 600 | 500
American | HPHE10266H045DVCTA-1** | 3 | 3.1 |  | 66 | 3.45 | Yes | 206851901 | 4.5 | 600 | 500
American | HPHE10266H045DVDR 1** | 3 | 3.1 |  | 66 | 3.45 | Yes | 206428800 | 4.5 | 600 | 500
American | HPHE10266H045DVN *** | 3 | 3.1 |  | 66 | 3.45 | No | 206428799 | 4.5 | 600 | 500
American Standard | ASHPWH-80 | 4 | 3.1 |  | 80 | 4.01 | Yes |  |  | 600 | 500
American Standard | ASHPWH-80***** | 4 | 3.1 |  | 80 | 4.01 | Yes | 210586230 | 4.5 | 600 | 500
Bradford White | RE2H80T*-***** | 3 | 3.1 |  | 80 | 3.48 | No | 200094645 | 4.5 | 600 | 500
Bradford White | RE2H80T*-***** | 1 | 3.1 |  | 80 | 3.48 | No | 200094645 | 4.5 | 600 | 0
Direct Energy | ECEPH40 T2 RH375-15 | 4 | 3.1 |  | 40 | 3.45 | Yes | 206186505 | 2.3 | 600 | 500
Direct Energy | ECEPH40 T2 RH375-30 | 4 | 3.1 |  | 40 | 3.75 | Yes | 206186511 | 4.5 | 600 | 500
Direct Energy | ECEPH40 T2 RH375-SO | 4 | 3.1 |  | 40 | 3.75 | Yes | 206186508 | 4.5 | 600 | 500
Kenmore | 153.5926 | 3 | 3.1 |  | 66 | 3.1 | No |  |  | 600 | 500
Lochinvar | HPA067KD 120 | 3 | 3.1 |  | 66 | 3 | No |  |  | 600 | 500
Lochinvar | HPA068KD *** | 3 | 3.1 |  | 66 | 3.45 | No | 206428801 | 4.5 | 600 | 500
Lochinvar | HPPA040KD 2** | 4 | 3.1 |  | 40 | 3.6 | Yes | 214091850 | 4.5 | 600 | 500
Reliance | 10 66 DHPHT 120 | 3 | 3.1 |  | 66 | 3 | No |  |  | 600 | 500
Reliance | 10-40-DHPTA 2** | 4 | 3.1 |  | 40 | 3.6 | Yes | 214091852 | 4.5 | 600 | 500
Reliance | 10-66-DHPHTCTA 1** | 3 | 3.1 |  | 66 | 3.45 | Yes | 206428803 | 4.5 | 600 | 500
Reliance | 10-66-DHPHTDR 130 | 3 | 3.1 |  | 66 | 3.45 | Yes |  |  | 600 | 500
Reliance | 10-66-DHPHTNE 1** | 3 | 3.1 |  | 66 | 3.45 | No | 206428802 | 4.5 | 600 | 500
Rheem | PROPH40 T2 RH375-15 | 4 | 3.1 |  | 40 | 3.83 | Yes | 205566397 | 2.3 | 600 | 500
Rheem | PROPH40 T2 RH375-30 | 4 | 3.1 |  | 40 | 3.83 | Yes | 205574637 | 4.5 | 600 | 500
Rheem | PROPH40 T2 RH375-SO | 4 | 3.1 |  | 40 | 3.83 | Yes | 205566395 | 4.5 | 600 | 500
Rheem | XE40T10H22U0 | 4 | 3.1 |  | 40 | 3.83 | Yes | 205574647 | 2.3 | 600 | 500
Rheem | XE40T10H45U0 | 4 | 3.1 |  | 40 | 3.83 | Yes | 205574636 | 4.5 | 600 | 500
Rheem | XE40T10HS45U0 | 4 | 3.1 |  | 40 | 3.83 | Yes | 205574635 | 4.5 | 600 | 500
Rheem Canada | CPROPH40 T2 RH375-15 | 4 | 3.1 |  | 40 | 3.45 | Yes | 206186504 | 2.3 | 600 | 500
Rheem Canada | CPROPH40 T2 RH375-30 | 4 | 3.1 |  | 40 | 3.75 | Yes | 206186510 | 4.5 | 600 | 500
Rheem Canada | CPROPH40 T2 RH375-SO | 4 | 3.1 |  | 40 | 3.75 | Yes | 206186507 | 4.5 | 600 | 500
Rheem Canada | CXE40T10H22UO | 4 | 3.1 |  | 40 | 3.45 | Yes | 206186503 | 2.3 | 600 | 500
Rheem Canada | CXE40T10H45UO | 4 | 3.1 |  | 40 | 3.75 | Yes | 206186509 | 4.5 | 600 | 500
Rheem Canada | CXE40T10HS45UO | 4 | 3.1 |  | 40 | 3.75 | Yes | 206186506 | 4.5 | 600 | 500
Richmond | 10E40-HP515 | 4 | 3.1 |  | 40 | 3.83 | Yes | 205574686 | 2.3 | 600 | 500
Richmond | 10E40-HP530 | 4 | 3.1 |  | 40 | 3.83 | Yes | 205574672 | 4.5 | 600 | 500
Richmond | 10E40-HP5S30 | 4 | 3.1 |  | 40 | 3.83 | Yes | 205574671 | 4.5 | 600 | 500
Ruud | PROUH40 T2 RU375-15 | 4 | 3.1 |  | 40 | 3.83 | Yes | 205574685 | 2.3 | 600 | 500
Ruud | PROUH40 T2 RU375-30 | 4 | 3.1 |  | 40 | 3.83 | Yes | 205574670 | 4.5 | 600 | 500
Ruud | PROUH40 T2 RU375-SO | 4 | 3.1 |  | 40 | 3.83 | Yes | 205574669 | 4.5 | 600 | 500
State | HPAX-40-DHPT 2** | 4 | 3.1 |  | 40 | 3.6 | Yes | 214091848 | 4.5 | 600 | 500
State | HPX 66 DHPT 120 | 3 | 3.1 |  | 66 | 3 | No |  |  | 600 | 500
State | HPX-66-DHPTCTA 1** | 3 | 3.1 |  | 66 | 3.45 | Yes | 206428806 | 4.5 | 600 | 500
State | HPX-66-DHPTDR 1** | 3 | 3.1 |  | 66 | 3.45 | Yes | 206428805 | 4.5 | 600 | 500
State | HPX-66-DHPTNE 1** | 3 | 3.1 |  | 66 | 3.45 | No | 206428804 | 4.5 | 600 | 500
US Craftmaster | HPHE2K66HD045VUN *** | 3 | 3.1 |  | 66 | 3.45 | No | 206428807 | 4.5 | 600 | 500
A. O. Smith | HPA10-80H45DV 2** | 4 | 3.2 |  | 80 | 3.88 | Yes | 214091868 | 4.5 | 600 | 500
A. O. Smith | HPTA-80 2** | 4 | 3.2 |  | 80 | 3.88 | Yes | 214091864 | 4.5 | 600 | 500
American | HPA10280H045DV 2** | 4 | 3.2 |  | 80 | 3.88 | Yes | 214091866 | 4.5 | 600 | 500
American Standard | ASHPWH-40 | 4 | 3.2 |  | 40 | 3.58 | Yes |  |  | 600 | 500
American Standard | ASHPWH-40***** | 4 | 3.2 |  | 40 | 3.58 | Yes | 213499881 | 4.5 | 600 | 500
American Standard | ASHPWH-50 | 4 | 3.2 |  | 50 | 3.75 | Yes |  |  | 600 | 500
American Standard | ASHPWH-50***** | 4 | 3.2 |  | 50 | 3.75 | Yes | 210324691 | 4.5 | 600 | 500
Bradford White | RE2H65T10-1NCTT | 2 | 3.2 |  | 65 | 3.64 | No |  |  | 600 | 0
Bradford White | RE2H65T10-1NCTT-CON | 4 | 3.2 |  | 65 | 3.64 | Yes |  |  | 600 | 500
Bradford White | RE2H80T10-1NCTT | 2 | 3.2 |  | 80 | 3.59 | No |  |  | 600 | 0
Bradford White | RE2H80T10-1NCTT-CON | 4 | 3.2 |  | 80 | 3.59 | Yes |  |  | 600 | 500
Direct Energy | ECEPH50 T2 RH375-15 | 4 | 3.2 |  | 50 | 3.75 | Yes | 206186494 | 2.3 | 600 | 500
Direct Energy | ECEPH50 T2 RH375-30 | 4 | 3.2 |  | 50 | 3.75 | Yes | 206186500 | 4.5 | 600 | 500
Direct Energy | ECEPH50 T2 RH375-SO | 4 | 3.2 |  | 50 | 3.75 | Yes | 206186497 | 4.5 | 600 | 500
Direct Energy | ECEPH65 T2 RH375-15 | 4 | 3.2 |  | 65 | 3.55 | Yes | 206186483 | 2.3 | 600 | 500
Direct Energy | ECEPH65 T2 RH375-30 | 4 | 3.2 |  | 65 | 3.85 | Yes | 206186489 | 4.5 | 600 | 500
Direct Energy | ECEPH65 T2 RH375-SO | 4 | 3.2 |  | 65 | 3.85 | Yes | 206186486 | 4.5 | 600 | 500
Direct Energy | ECEPH80 T2 RH375-15 | 4 | 3.2 |  | 80 | 3.7 | Yes | 206186516 | 2.3 | 600 | 500
Direct Energy | ECEPH80 T2 RH375-30 | 4 | 3.2 |  | 80 | 4 | Yes | 206186478 | 4.5 | 600 | 500
Direct Energy | ECEPH80 T2 RH375-SO | 4 | 3.2 |  | 80 | 4 | Yes | 206186475 | 4.5 | 600 | 500
Lochinvar | HPPA080KD 2** | 4 | 3.2 |  | 80 | 3.88 | Yes | 214091867 | 4.5 | 600 | 500
Reliance | 10-80-DHPTA 2** | 4 | 3.2 |  | 80 | 3.88 | Yes | 214091869 | 4.5 | 600 | 500
Rheem | PRO H50 T2 RH350BM | 3 | 3.2 |  | 50 | 3.5 | No |  |  | 600 | 500
Rheem | PROPH50 T2 RH350 D | 3 | 3.2 |  | 50 | 3.55 | No |  |  | 600 | 500
Rheem | PROPH50 T2 RH350 DC | 3 | 3.2 |  | 50 | 3.55 | No |  |  | 600 | 500
Rheem | PROPH50 T2 RH350 DCB | 3 | 3.2 |  | 50 | 3.55 | No |  |  | 600 | 500
Rheem | PROPH50 T2 RH375-15 | 4 | 3.2 |  | 50 | 3.88 | Yes | 205566398 | 2.3 | 600 | 500
Rheem | PROPH50 T2 RH375-30 | 4 | 3.2 |  | 50 | 3.88 | Yes | 205574640 | 4.5 | 600 | 500
Rheem | PROPH50 T2 RH375-SO | 4 | 3.2 |  | 50 | 3.88 | Yes | 205566390 | 4.5 | 600 | 500
Rheem | PROPH65 T2 RH350 D15 | 3 | 3.2 |  | 65 | 3.55 | No |  |  | 600 | 500
Rheem | PROPH65 T2 RH375-15 | 4 | 3.2 |  | 65 | 4.05 | Yes | 205566399 | 2.3 | 600 | 500
Rheem | PROPH65 T2 RH375-30 | 4 | 3.2 |  | 65 | 4.05 | Yes | 205574643 | 4.5 | 600 | 500
Rheem | PROPH65 T2 RH375-SO | 4 | 3.2 |  | 65 | 4.05 | Yes | 205566391 | 4.5 | 600 | 500
Rheem | PROPH80 T2 RH350 D15 | 3 | 3.2 |  | 80 | 3.27 | No |  |  | 600 | 500
Rheem | PROPH80 T2 RH375-15 | 4 | 3.2 |  | 80 | 4.07 | Yes | 205566400 | 2.3 | 600 | 500
Rheem | PROPH80 T2 RH375-30 | 4 | 3.2 |  | 80 | 4.07 | Yes | 205574646 | 4.5 | 600 | 500
Rheem | PROPH80 T2 RH375-SO | 4 | 3.2 |  | 80 | 4.07 | Yes | 205566396 | 4.5 | 600 | 500
Rheem | XE50T10H22U0 | 4 | 3.2 |  | 50 | 3.88 | Yes | 205574648 | 2.3 | 600 | 500
Rheem | XE50T10H45U0 | 4 | 3.2 |  | 50 | 3.88 | Yes | 205574639 | 4.5 | 600 | 500
Rheem | XE50T10HD22U0 | 3 | 3.2 |  | 50 | 3.55 | No |  |  | 600 | 500
Rheem | XE50T10HD50U0 | 3 | 3.2 |  | 50 | 3.55 | No |  |  | 600 | 500
Rheem | XE50T10HD50U1 | 3 | 3.2 |  | 50 | 3.55 | No |  |  | 600 | 500
Rheem | XE50T10HS45U0 | 4 | 3.2 |  | 50 | 3.88 | Yes | 205574638 | 4.5 | 600 | 500
Rheem | XE65T10H22U0 | 4 | 3.2 |  | 65 | 4.05 | Yes | 205574649 | 2.3 | 600 | 500
Rheem | XE65T10H45U0 | 4 | 3.2 |  | 65 | 4.05 | Yes | 205574642 | 4.5 | 600 | 500
Rheem | XE65T10HD22U0 | 3 | 3.2 |  | 65 | 3.55 | No |  |  | 600 | 500
Rheem | XE65T10HS45U0 | 4 | 3.2 |  | 65 | 4.05 | Yes | 205574641 | 4.5 | 600 | 500
Rheem | XE80T10H22U0 | 4 | 3.2 |  | 80 | 4.07 | Yes | 205574650 | 2.3 | 600 | 500
Rheem | XE80T10H45U0 | 4 | 3.2 |  | 80 | 4.07 | Yes | 205574645 | 4.5 | 600 | 500
Rheem | XE80T10HD22U0 | 3 | 3.2 |  | 80 | 3.27 | No |  |  | 600 | 500
Rheem | XE80T10HS45U0 | 4 | 3.2 |  | 80 | 4.07 | Yes | 205574644 | 4.5 | 600 | 500
Rheem Canada | CPROPH50 T2 RH375-15 | 4 | 3.2 |  | 50 | 3.75 | Yes | 206186493 | 2.3 | 600 | 500
Rheem Canada | CPROPH50 T2 RH375-30 | 4 | 3.2 |  | 50 | 3.75 | Yes | 206186499 | 4.5 | 600 | 500
Rheem Canada | CPROPH50 T2 RH375-SO | 4 | 3.2 |  | 50 | 3.75 | Yes | 206186496 | 4.5 | 600 | 500
Rheem Canada | CPROPH65 T2 RH375-15 | 4 | 3.2 |  | 65 | 3.55 | Yes | 206186482 | 2.3 | 600 | 500
Rheem Canada | CPROPH65 T2 RH375-30 | 4 | 3.2 |  | 65 | 3.85 | Yes | 206186488 | 4.5 | 600 | 500
Rheem Canada | CPROPH65 T2 RH375-SO | 4 | 3.2 |  | 65 | 3.85 | Yes | 206186485 | 4.5 | 600 | 500
Rheem Canada | CPROPH80 T2 RH375-15 | 4 | 3.2 |  | 80 | 3.7 | Yes | 206186515 | 2.3 | 600 | 500
Rheem Canada | CPROPH80 T2 RH375-30 | 4 | 3.2 |  | 80 | 4 | Yes | 206186477 | 4.5 | 600 | 500
Rheem Canada | CPROPH80 T2 RH375-SO | 4 | 3.2 |  | 80 | 4 | Yes | 206186474 | 4.5 | 600 | 500
Rheem Canada | CXE50T10H22UO | 4 | 3.2 |  | 50 | 3.75 | Yes | 206186492 | 2.3 | 600 | 500
Rheem Canada | CXE50T10H45UO | 4 | 3.2 |  | 50 | 3.75 | Yes | 206186498 | 4.5 | 600 | 500
Rheem Canada | CXE50T10HS45UO | 4 | 3.2 |  | 50 | 3.75 | Yes | 206186495 | 4.5 | 600 | 500
Rheem Canada | CXE65T10H22UO | 4 | 3.2 |  | 65 | 3.55 | Yes | 206186481 | 2.3 | 600 | 500
Rheem Canada | CXE65T10H45UO | 4 | 3.2 |  | 65 | 3.85 | Yes | 206186487 | 4.5 | 600 | 500
Rheem Canada | CXE65T10HS45UO | 4 | 3.2 |  | 65 | 3.85 | Yes | 206186484 | 4.5 | 600 | 500
Rheem Canada | CXE80T10H22UO | 4 | 3.2 |  | 80 | 3.7 | Yes | 206186514 | 2.3 | 600 | 500
Rheem Canada | CXE80T10H45UO | 4 | 3.2 |  | 80 | 4 | Yes | 206235635 | 4.5 | 600 | 500
Rheem Canada | CXE80T10HS45UO | 4 | 3.2 |  | 80 | 4 | Yes | 206186473 | 4.5 | 600 | 500
Richmond | 10E50-HP4D | 3 | 3.2 |  | 50 | 3.55 | No |  |  | 600 | 500
Richmond | 10E50-HP515 | 4 | 3.2 |  | 50 | 3.88 | Yes | 205574688 | 2.3 | 600 | 500
Richmond | 10E50-HP530 | 4 | 3.2 |  | 50 | 3.88 | Yes | 205574676 | 4.5 | 600 | 500
Richmond | 10E50-HP5S30 | 4 | 3.2 |  | 50 | 3.88 | Yes | 205574675 | 4.5 | 600 | 500
Richmond | 10E65-HP4D15 | 3 | 3.2 |  | 65 | 3.55 | No |  |  | 600 | 500
Richmond | 10E65-HP515 | 4 | 3.2 |  | 65 | 4.05 | Yes | 205574690 | 2.3 | 600 | 500
Richmond | 10E65-HP530 | 4 | 3.2 |  | 65 | 4.05 | Yes | 205574680 | 4.5 | 600 | 500
Richmond | 10E65-HP5S30 | 4 | 3.2 |  | 65 | 4.05 | Yes | 205574679 | 4.5 | 600 | 500
Richmond | 10E80-HP4D15 | 3 | 3.2 |  | 80 | 3.27 | No |  |  | 600 | 500
Richmond | 10E80-HP515 | 4 | 3.2 |  | 80 | 4.07 | Yes | 205574692 | 2.3 | 600 | 500
Richmond | 10E80-HP530 | 4 | 3.2 |  | 80 | 4.07 | Yes | 205574684 | 4.5 | 600 | 500
Richmond | 10E80-HP5S30 | 4 | 3.2 |  | 80 | 4.07 | Yes | 205574683 | 4.5 | 600 | 500
Ruud | PRO H50 T2 RU350BM | 3 | 3.2 |  | 50 | 3.5 | No |  |  | 600 | 500
Ruud | PROUH50 T2 RU350 D | 3 | 3.2 |  | 50 | 3.55 | No |  |  | 600 | 500
Ruud | PROUH50 T2 RU350 DCB | 3 | 3.2 |  | 50 | 3.55 | No |  |  | 600 | 500
Ruud | PROUH50 T2 RU375-15 | 4 | 3.2 |  | 50 | 3.88 | Yes | 205574687 | 2.3 | 600 | 500
Ruud | PROUH50 T2 RU375-30 | 4 | 3.2 |  | 50 | 3.88 | Yes | 205574674 | 4.5 | 600 | 500
Ruud | PROUH50 T2 RU375-SO | 4 | 3.2 |  | 50 | 3.88 | Yes | 205574673 | 4.5 | 600 | 500
Ruud | PROUH65 T2 RU350 D15 | 3 | 3.2 |  | 65 | 3.55 | No |  |  | 600 | 500
Ruud | PROUH65 T2 RU375-15 | 4 | 3.2 |  | 65 | 4.05 | Yes | 205574689 | 2.3 | 600 | 500
Ruud | PROUH65 T2 RU375-30 | 4 | 3.2 |  | 65 | 4.05 | Yes | 205574678 | 4.5 | 600 | 500
Ruud | PROUH65 T2 RU375-SO | 4 | 3.2 |  | 65 | 4.05 | Yes | 205574677 | 4.5 | 600 | 500
Ruud | PROUH80 T2 RU350 D15 | 3 | 3.2 |  | 80 | 3.27 | No |  |  | 600 | 500
Ruud | PROUH80 T2 RU375-15 | 4 | 3.2 |  | 80 | 4.07 | Yes | 205574691 | 2.3 | 600 | 500
Ruud | PROUH80 T2 RU375-30 | 4 | 3.2 |  | 80 | 4.07 | Yes | 205574682 | 4.5 | 600 | 500
Ruud | PROUH80 T2 RU375-SO | 4 | 3.2 |  | 80 | 4.07 | Yes | 205574681 | 4.5 | 600 | 500
State | HPAX-80-DHPT 2** | 4 | 3.2 |  | 80 | 3.88 | Yes | 214091865 | 4.5 | 600 | 500
A. O. Smith | HPA10-50H45DV 2** | 4 | 3.3 |  | 50 | 3.68 | Yes | 214091856 | 4.5 | 600 | 500
A. O. Smith | HPA10-66H45DV 2** | 4 | 3.3 |  | 66 | 3.84 | Yes | 214091862 | 4.5 | 600 | 500
A. O. Smith | HPTA-50 2** | 4 | 3.3 |  | 50 | 3.68 | Yes | 214091847 | 4.5 | 600 | 500
A. O. Smith | HPTA-66 2** | 4 | 3.3 |  | 66 | 3.84 | Yes | 214091858 | 4.5 | 600 | 500
American | HPA10250H045DV 2** | 4 | 3.3 |  | 50 | 3.68 | Yes | 214091854 | 4.5 | 600 | 500
American | HPA10266H045DV 2** | 4 | 3.3 |  | 66 | 3.84 | Yes | 214091860 | 4.5 | 600 | 500
Lochinvar | HPPA050KD 2** | 4 | 3.3 |  | 50 | 3.68 | Yes | 214091855 | 4.5 | 600 | 500
Lochinvar | HPPA065KD 2** | 4 | 3.3 |  | 66 | 3.84 | Yes | 214091861 | 4.5 | 600 | 500
Reliance | 10-50-DHPTA 2** | 4 | 3.3 |  | 50 | 3.68 | Yes | 214091857 | 4.5 | 600 | 500
Reliance | 10-66-DHPTA 2** | 4 | 3.3 |  | 66 | 3.84 | Yes | 214091863 | 4.5 | 600 | 500
State | HPAX-50-DHPT 2** | 4 | 3.3 |  | 50 | 3.68 | Yes | 214091853 | 4.5 | 600 | 500
State | HPAX-66-DHPT 2** | 4 | 3.3 |  | 66 | 3.84 | Yes | 214091859 | 4.5 | 600 | 500
A. O. Smith | HPS10-50H45DV 2** | 4 | 3.4 |  | 50 | 3.8 | Yes | 208531076 | 4.5 | 600 | 500
A. O. Smith | HPS10-80H45DV 2** | 4 | 3.4 |  | 80 | 3.88 | Yes | 208531263 | 4.5 | 600 | 500
A. O. Smith | HPTS-50 2** | 4 | 3.4 |  | 50 | 3.8 | Yes | 208531033 | 4.5 | 600 | 500
A. O. Smith | HPTS-80 2** | 4 | 3.4 |  | 80 | 3.88 | Yes | 208531220 | 4.5 | 600 | 500
American | HPS10250H045DV 2** | 4 | 3.4 |  | 50 | 3.8 | Yes | 208531074 | 4.5 | 600 | 500
American | HPS10280H045DV 2** | 4 | 3.4 |  | 80 | 3.88 | Yes | 208531261 | 4.5 | 600 | 500
Lochinvar | HPSA050KD 2** | 4 | 3.4 |  | 50 | 3.8 | Yes | 210605780 | 4.5 | 600 | 500
Lochinvar | HPSA080KD 2** | 4 | 3.4 |  | 80 | 3.88 | Yes | 210605785 | 4.5 | 600 | 500
Reliance | 10-50-DHPTS 2** | 4 | 3.4 |  | 50 | 3.8 | Yes | 210611389 | 4.5 | 600 | 500
Reliance | 10-80-DHPTS 2** | 4 | 3.4 |  | 80 | 3.88 | Yes | 210605786 | 4.5 | 600 | 500
Rheem | PRO H65 T2 RH350BM | 3 | 3.4 |  | 65 | 3.7 | No |  |  | 600 | 500
Rheem | PRO H80 T2 RH350BM | 3 | 3.4 |  | 80 | 3.7 | No |  |  | 600 | 500
Rheem | PROPH65 T2 RH350 D | 3 | 3.4 |  | 65 | 3.7 | No |  |  | 600 | 500
Rheem | PROPH65 T2 RH350 DC | 3 | 3.4 |  | 65 | 3.7 | No |  |  | 600 | 500
Rheem | PROPH65 T2 RH350 DCB | 3 | 3.4 |  | 65 | 3.7 | No |  |  | 600 | 500
Rheem | PROPH80 T2 RH350 D | 3 | 3.4 |  | 80 | 3.7 | No |  |  | 600 | 500
Rheem | PROPH80 T2 RH350 DC | 3 | 3.4 |  | 80 | 3.7 | No |  |  | 600 | 500
Rheem | PROPH80 T2 RH350 DCB | 3 | 3.4 |  | 80 | 3.7 | No |  |  | 600 | 500
Rheem | XE65T10HD50U0 | 3 | 3.4 |  | 65 | 3.7 | No |  |  | 600 | 500
Rheem | XE65T10HD50U1 | 3 | 3.4 |  | 65 | 3.7 | No |  |  | 600 | 500
Rheem | XE80T10HD50U0 | 3 | 3.4 |  | 80 | 3.7 | No |  |  | 600 | 500
Rheem | XE80T10HD50U1 | 3 | 3.4 |  | 80 | 3.7 | No |  |  | 600 | 500
Richmond | 10E65-HP4D | 3 | 3.4 |  | 65 | 3.7 | No |  |  | 600 | 500
Richmond | 10E80-HP4D | 3 | 3.4 |  | 80 | 3.7 | No |  |  | 600 | 500
Ruud | PRO H65 T2 RU350BM | 3 | 3.4 |  | 65 | 3.7 | No |  |  | 600 | 500
Ruud | PRO H80 T2 RU350BM | 3 | 3.4 |  | 80 | 3.7 | No |  |  | 600 | 500
Ruud | PROUH65 T2 RU350 D | 3 | 3.4 |  | 65 | 3.7 | No |  |  | 600 | 500
Ruud | PROUH65 T2 RU350 DCB | 3 | 3.4 |  | 65 | 3.7 | No |  |  | 600 | 500
Ruud | PROUH80 T2 RU350 D | 3 | 3.4 |  | 80 | 3.7 | No |  |  | 600 | 500
Ruud | PROUH80 T2 RU350 DCB | 3 | 3.4 |  | 80 | 3.7 | No |  |  | 600 | 500
State | HPSX-50-DHPT 2** | 4 | 3.4 |  | 50 | 3.8 | Yes | 208531071 | 4.5 | 600 | 500
State | HPSX-80-DHPT 2** | 4 | 3.4 |  | 80 | 3.88 | Yes | 208531257 | 4.5 | 600 | 500
A. O. Smith | HPS10-66H45DV 2** | 4 | 3.5 |  | 66 | 3.7 | Yes | 210605782 | 4.5 | 600 | 500
A. O. Smith | HPTS-66 2** | 4 | 3.5 |  | 66 | 3.7 | Yes | 208531171 | 4.5 | 600 | 500
American | HPS10266H045DV 2** | 4 | 3.5 |  | 66 | 3.7 | Yes | 208531196 | 4.5 | 600 | 500
Lochinvar | HPSA065KD 2** | 4 | 3.5 |  | 66 | 3.7 | Yes | 210605783 | 4.5 | 600 | 500
Reliance | 10-66-DHPTS 2** | 4 | 3.5 |  | 66 | 3.7 | Yes | 210605784 | 4.5 | 600 | 500
State | HPSX-66-DHPT 2** | 4 | 3.5 |  | 66 | 3.7 | Yes | 208531194 | 4.5 | 600 | 500
Aqua ThermAire | CHT2021-36A | 2 |  | 2.7 |  | 2.95 | No |  |  | 600 | 0
Aqua ThermAire | CHT2021-36C | 2 |  | 2.7 |  | 2.95 | No |  |  | 600 | 0
Aqua ThermAire | CHT2021-48A | 2 |  | 2.7 |  | 2.95 | No |  |  | 600 | 0
Aqua ThermAire | CHT2021-48C | 2 |  | 2.7 |  | 2.95 | No |  |  | 600 | 0
Harvest Thermal | PD2A-10-119 | 2 |  | 2.9 | 119 |  | No |  |  | 600 | 0
Harvest Thermal | PD2A-10-43 | 2 |  | 2.9 | 43 |  | No |  |  | 600 | 0
Harvest Thermal | PD2A-10-83 | 2 |  | 2.9 | 83 |  | No |  |  | 600 | 0
Harvest Thermal | PD2A-SB-10-119 | 3 |  | 2.9 | 119 |  | Yes |  |  | 600 | 500
Harvest Thermal | PD2A-SB-10-43 | 3 |  | 2.9 | 43 |  | Yes |  |  | 600 | 500
Harvest Thermal | PD2A-SB-10-83 | 3 |  | 2.9 | 83 |  | Yes |  |  | 600 | 500
Harvest Thermal | PD2B-10-119 | 3 |  | 2.9 | 119 |  | Yes |  |  | 600 | 500
Harvest Thermal | PD2B-10-43 | 3 |  | 2.9 | 43 |  | Yes |  |  | 600 | 500
Harvest Thermal | PD2B-10-83 | 3 |  | 2.9 | 83 |  | Yes |  |  | 600 | 500
SANCO2 | GS4-45HPC + SAN-119GLBK | 2 |  | 2.9 | 119 | 3.4 | No |  |  | 600 | 0
SANCO2 | GS4-45HPC + SAN-43SSAQA | 2 |  | 2.9 | 43 | 3.1 | No |  |  | 600 | 0
SANCO2 | GS4-45HPC + SAN-83SSAQA | 2 |  | 2.9 | 83 | 3.75 | No |  |  | 600 | 0